## DETAIL
Estimate of Materials and Cost of Construction
Commercial Estimate Sample
ITEM # | CSI DIV # | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT COST | ITEM COST | TRADE COST
| DIV-02 | EXISTING CONDITIONS | [6 empty] | 27982.8663
DEMOLITION & REMOVALS
1 |  | 90.01:Remove Existing Wall | 53.3 | 0% | 53.3 | SF | 2.2 | 117.26
2 |  | 90.02:Remove Existing Door,Door Frame & Hardware | 1 | 0% | 1 | EA | 125 | 125
3 |  | 90.03:Remove Existing Section of Storefront | 596.0077 | 0% | 596.0077 | SF | 5.5 | 3278.0425
4 |  | 90.04:Remove Existing Storefront Door | 7 | 0% | 7 | EA | 150 | 1050
5 |  | 90.04:Remove Existing Storefront Double Door | 1 | 0% | 1 | EA | 200 | 200
6 |  | 90.05:Remove Existing Storefront from Slab to Beam.Remove Exisitng Section of Triangle Storefront above Beam to Roof | 714.488 | 0% | 714.488 | SF | 5.5 | 3929.6838
7 |  | 90.06:Remove Existing Overhead door & Frame | 4 | 0% | 4 | EA | 135 | 540
8 |  | 90.07:Remove Portion of Existing Exterior Gypsum Board,Metal Studs,Sheathing & Brick Veneer Wall | 339.96 | 0% | 339.96 | SF | 3 | 1019.88
9 |  | 90.08:Existing Exterior Slab to be Removed for Construction of New Footing & Brick Veneer Wall | 79 | 0% | 79 | SF | 12 | 948
10 |  | 90.09:Existing Exterior Slab to be Removed for Construction of infill Brick Veneer Wall | 34 | 0% | 34 | SF | 12 | 408
11 |  | 90.10:Remove Existing Faded Break Metal Surround | 15 | 0% | 15 | EA | 35 | 525
12 |  | 90.11:Remove Existing Exterior Gypsum Board Ceiling | 113 | 0% | 113 | SF | 5 | 565
13 |  | 90.12:Remove of Portion of Existing Slab for New Isolated Slab. | 107 | 0% | 107 | SF | 12 | 1284
14 |  | 90.13:Remove Portion of Existing Slab for New Trench Drain & Recessed Slab | 289 | 0% | 289 | SF | 12 | 3468
15 |  | 90.01:Remove Plumbing Fixtures along w/ Vanity Top,Connected Domestic Cold/hot Water Supply,Waste & Vent Piping & Prepare Existing Piping for Reconnections at New Location. | 4 | 0% | 4 | EA | 225 | 900
16 |  | 90.02:Remove Plumbing Fixtures along w/ Connected Domestic Cold/hot Water Supply,Waste & Vent Piping & Prepare Existing Piping for Reconnections at New Location. | 15 | 0% | 15 | EA | 175 | 2625
17 |  | Debris Disposal Allowance @ 33.33% of Demolition Cost | 1 | 0% | 1 | LS | 7000 | 7000
| DIV-03 | CONCRETE | [6 empty] | 8787.6857
18 |  | New Concrete Slab to Match Existing | 112 | 10% | 123.2 | SF | 15 | 1848
19 |  | New 6" Thick Concrete Slab | 108 | 10% | 118.8 | SF | 16.5 | 1960.2
20 |  | Recessed Slab | 170 | 10% | 187 | SF | 8 | 1496
21 |  | New Concrete Trench Drain of 6" Thick Walls,& 8" Thick Base Reinforced w/ #4 Bars | 3.7257 | 10% | 4.0982 | CY | 850 | 3483.4857
| DIV-04 | MASONARY | [6 empty] | 13252.272
22 |  | Brick Veneer to Match Existing Height Assumed to be 12' underside of beam & New Concrete | 317.04 | 10% | 348.744 | SF | 38 | 13252.272
| DIV-05 | METALS | [6 empty] | 79160.5227
LIGHT GUAGE FRAMING
23 |  | 6" Thick Metal Stud Framing @ 16"o.c at Exterior Brick Veneer Wall | 317.04 | 10% | 348.744 | SF | 5 | 1743.72
24 |  | 3-5/8" Thick Metal Stud Framing @ 16"o.c at Exterior Eifs Wall | 709.08 | 10% | 779.988 | SF | 2.75 | 2144.967
25 |  | 3-5/8" Thick Metal Stud Framing @ 16"o.c Typical at Interior Partitions | 19159.03 | 10% | 21074.933 | SF | 2.75 | 57956.0658
26 |  | 6" Thick Metal Stud Framing @ 16"o.c Typical at Interior Partitions | 1069.09 | 10% | 1175.999 | SF | 5 | 5879.995
STRUCTURAL STEEL FRAMING
27 |  | Provide L3x2 Under all Edges of RTU & Around Duct Penetrations | 8 | 0% | 8 | EA | 350 | 2800
28 |  | L1.5xL1.5x1/4 (Ea Side of Joists welded to Joists to top chord) | 8 | 0% | 8 | EA | 250 | 2000
ARCHITECTURAL METALS
29 |  | Chain link Fence | 40.25 | 10% | 44.275 | LF | 75 | 3320.625
30 |  | Wrap Existing Columns in Break Metal to Match Color w/ Storefront | 14 | 0% | 14 | EA | 150 | 2100
31 |  | Steel Grating at Trench | 35.75 | 10% | 39.325 | LF | 22 | 865.15
32 |  | Break Metal Cap to Match Storefront at Brick Monument Sign Pilaster | 1 | 0% | 1 | EA | 350 | 350
| DIV-06 | WOOD PLASTICS & COMPOSITES | [6 empty] | 49941.858
SHEATHING
33 |  | 5/8" Thick Exterior Grade Fiberglass Gypsum Board Sheathing | 1026.12 | 10% | 1128.732 | SF | 3.5 | 3950.562
FINISH CARPENTRY
34 |  | Wood Casing at Openings | 88 | 10% | 96.8 | LF | 8 | 774.4
35 |  | Doors Trim | 2176 | 10% | 2393.6 | LF | 6.5 | 15558.4
36 |  | Knee Wall at Reception Desk:5/8" Thick Gypsum Wall Board Ea.Side over 2x4 Wood Studs Framing | 49.28 | 10% | 54.208 | SF | 12 | 650.496
WOOD BLOCKING
37 |  | Wood Blocking Allowance for Partitions @ 0.25$ per square feet, shelving,brackets,displays,grab bars,handrails and all wall mounted Equipments @ 75$ per item | 1 | 0% | 1 | LS | 10000 | 10000
MILLWORK
38 |  | Plastic Laminate Cabinets w/ Adjustable Shelves Provided by owner installed by Contractor | 258 | 10% | 283.8 | SF | 60 | 17028
39 |  | White Melamine Shelves | 12 | 10% | 13.2 | LF | 150 | 1980
| DIV-07 | THERMAL & MOISTURE PROTECTION | [6 empty] | 63551.235
40 |  | Thru Wall Flashing at Grade | 85.51 | 10% | 94.061 | LF | 7 | 658.427
41 |  | Sound Attenuation Batt at Exterior Walls | 1026.12 | 10% | 1128.732 | SF | 2 | 2257.464
42 |  | 2" Thick Eifs Color to be Determined | 709.08 | 10% | 779.988 | SF | 8 | 6239.904
43 |  | Sound Attenuation Batt at Interior Walls | 19568.12 | 10% | 21524.932 | SF | 2 | 43049.864
44 |  | Sealant | 7526.66 | 10% | 8279.326 | LF | 1 | 8279.326
45 |  | R-30 Insulation at Gypsum Board Ceiling | 1115 | 10% | 1226.5 | SF | 2.5 | 3066.25
| DIV-08 | OPENINGS | [6 empty] | 182930.1363
STEEL DOORS & FRAMES
46 |  | Size:7'-0"x3'-0" Type:D6 Description:Hollow Metal Door w/ Hollow Metal Frame | 1 | 0% | 1 | EA | 900 | 900
46 |  | Size:7'-0"x6'-0" Type:D7 Description:Hollow Metal Door w/ Hollow Metal Frame | 1 | 0% | 1 | EA | 1800 | 1800
47 |  | Size:7'-0"x3'-0" Type:D8 Description:Hollow Metal Door w/ Hollow Metal Frame | 7 | 0% | 7 | EA | 900 | 6300
ALUMINIUM DOORS & FRAMES
48 |  | Size:7'-8"x6'-0" Type:D2 Description:Double Aluminium Storefront Door w/ Aluminium Frame | 1 | 0% | 1 | EA | 2500 | 2500
48 |  | Size:7'-8"x3-0" Type:D1 Description:Aluminium Door w/ Aluminium Frame | 2 | 0% | 2 | EA | 1200 | 2400
WOOD & GLASS DOORS
49 |  | Size:7'-0"x3'-0" Type:D3 Description:Wood/ Glass Door w/ Aluminium Frame | 18 | 0% | 18 | EA | 1000 | 18000
49 |  | Size:7'-0"x3'-0" Type:D4 Description:Wood Doors w/ Hollow Metal Frame | 17 | 0% | 17 | EA | 950 | 16150
50 |  | Size:7'-0"x6'-0" Type:D5 Description:Double Wood Doors w/ Hollow Metal Frame | 10 | 0% | 10 | EA | 1900 | 19000
HARDWARE SET
51 |  | Hardware Set:1(Single Exterior Storefront Entry) Lock Cylinder Continous Hinges Door Pull Door Push Closer Weatherstripping threshold Sweep | 2 | 0% | 2 | EA | 400 | 800
51 |  | Hardware Set:2(Double Exterior Storefront Entry) Lock Cylinder Continous Hinges-2EA Door Pull-2EA Door Push-2EA Closer-2EA Weatherstripping threshold Sweep-2EA | 1 | 0% | 1 | EA | 750 | 750
52 |  | Hardware Set:3(Single Exterior) Entry Function Lock Set Ball Bearing Butts Silencers-3EA Closer-2EA Weatherstripping Threshold Sweep | 7 | 0% | 7 | EA | 500 | 3500
52 |  | Hardware Set:4(Double Exterior) Entry Function Lock Set Ball Bearing Butts-6EA Head & Foot Bolt Closer-2EA Weatherstripping Threshold Sweep | 1 | 0% | 1 | EA | 600 | 600
53 |  | Hardware Set:5(Single Passage) Passage Function Lock Set Ball Bearing Butts-3EA Silencers-3EA Wall Stop Closer | 31 | 0% | 31 | EA | 350 | 10850
53 |  | Hardware Set:6(Double Passage) Passage Function Lock Set Ball Bearing Butts-6EA Head & Foot Bolt Wall Stop-2EA Closer-2EA | 8 | 0% | 8 | EA | 500 | 4000
54 |  | Hardware Set:8(Toilet) Ball Bearing Butts-3EA Push Plate Door Pull Closer Silencers-3EA Wall Stop | 4 | 0% | 4 | EA | 550 | 2200
54 |  | Power & Overhead Door Opener for Overhead doors | 5 | 0% | 5 | EA | 150 | 750
STOREFRONT
55 |  | Inteior Storefront System Manufacturer:Kawneer System:Tri-Fab 400 Glazing:1/4" Single Glazed,Tempered Glazing Frame Finish:Clear Anodized Aluminium | 835.1705 | 10% | 918.6876 | SF | 55 | 50527.8159
55 |  | Exterior Storefront System Manufacturer:Kawneer System:Tri-Fab 451T Glazing:1" Insulated Tempered Frame Finish:To Match Existing,Dark bronze | 609.9557 | 10% | 670.9513 | SF | 55 | 36902.3205
MISC
56 |  | Millwork Hardware Allowance | 1 | 0% | 1 | LS | 5000 | 5000
| DIV-09 | FINISHES | [6 empty] | 697887.8851
DRY WALLS
57 |  | 5/8" Thick Gypsum Wall Board | 35657.18 | 10% | 39222.898 | SF | 3 | 117668.694
58 |  | 5/8" Thick Moisture Resistant Gypsum Wall Board at Wet Locations | 2314.26 | 10% | 2545.686 | SF | 3.2 | 8146.1952
FLOORING
59 |  | CPT1:Carpet Flooring Miliken Lyceum Collection Design:Arsitotle Trimline Color:Lava Rock+Blue Green (All three Accent Slots) Size:1Mx1M/0.31" Thick Monolithic Installation Contact:Heide Burmeister (704)-661-1876 | 5447 | 10% | 5991.7 | SF | 5 | 29958.5
60 |  | LVT1:Luxury Vinyl Tile Miliken Stone Collection Design:Stone Color:STN108 Size:18"x36"/0.100" Thick Contact:Heide Burmeister (704)-661-1876 | 725 | 10% | 797.5 | SF | 10 | 7975
61 |  | QT1:Quartz Tile Upofloor Marble Collection Color:9702 Size:24"x24"/0.08" Thick Contact:Jake Clary (571) 465-0045 | 9547 | 10% | 10501.7 | SF | 11 | 115518.7
62 |  | QT2:Quartz Tile Upofloor Marble Collection Color:9703 Size:24"x24"/0.08" Thick Contact:Jake Clary (571) 465-0045 | 82 | 10% | 90.2 | SF | 15 | 1353
63 |  | RES1:Resinous Flooring Stonhard resinous Flooring System Mortar Base:Stonclad GS Top Coat:Stonekote GS4 Seal Coat:Stoneseal SK6(Gloss Finish) Overall System thickness:3/16" Color:Silver Gray Contact:Justin Clarke (704)351-3049 | 2031 | 10% | 2234.1 | SF | 8 | 17872.8
|  | PFT1:Porcelain Tile Flooring Crossville Shades Collection Color:AV248 Thunder Upolished Finish Size:6"x24"/10.5mm Contact:Paul Wilson (Clayton Tile)(864) 787-2958 | 654 | 10% | 719.4 | SF | 12 | 8632.8
|  | Sealed Concrete Flooring | 1422 | 10% | 1564.2 | SF | 2.5 | 3910.5
|  | Transition Strips |  | 0% | 0 | EA | 250 | 0
CEILING
64 |  | 5/8" Thick Gypsum Board Ceiling over Metal Stud Framing | 1116 | 10% | 1227.6 | SF | 6.5 | 7979.4
|  | ACT1:Acoustical Ceiling Tiles Arm Strong Dune Square Lay-in Item No:1772 Size:24"x24"x5/8" Color:White Suspension Sytem:15/16" Prelude XL Contact:Bill Burgwald (803) 212-8217 | 15176 | 10% | 16693.6 | SF | 11.5 | 191976.4
|  | ACT2:Acoustical Ceiling Tiles Arm Strong Clean Room VL Unperforated Square Lay-in Item No:868 Size:24"x24"x5/8" Color:White Suspension Sytem:15/16" Clean Room Contact:Bill Burgwald (803) 212-8217 | 1568 | 10% | 1724.8 | SF | 11.5 | 19835.2
WALL FINISHES
65 |  | PWT1:Porcelain Wall Tile Cross ville Shades Collection Color:AV244 Mist Finish:Honed Size:6"x24"/10.5 MM | 505 | 10% | 555.5 | SF | 18 | 9999
|  | PTB1:Porcelain Tile Base Crossville Shades Collection Color:AV248 Thunder Unpolished Finish Size:6"x24"x10.5mm | 191.61 | 10% | 210.771 | LF | 6 | 1264.626
66 |  | RB1:Resilient Base Roppe Pinnacle Plus Wall Base Simplicity Profile #00 Size:4"H/1.8" Thick Color:123 Charcoal Contact:Steve Sloan (336) 260-3783 | 3927.94 | 10% | 4320.734 | SF | 5 | 21603.67
PAINT
67 |  | P1:Paint on Walls Sherwin Williams Color:SW7649 Silverplate w/ Eggshell finish | 35351.46 | 10% | 38886.606 | SF | 1.7 | 66107.2302
68 |  | P2:Paint on Walls Sherwin Williams Color:SW7067 City Scape w/ Eggshell finish | 2730 | 10% | 3003 | SF | 1.7 | 5105.1
69 |  | P3:Paint on Walls Sherwin Williams Color:SW7655 Stamped Concrete w/ Eggshell finish | 303 | 10% | 333.3 | SF | 1.7 | 566.61
70 |  | P4:Paint on Hollow Metal Doors Sherwin Williams Color:SW7068 Grizzle Gray w/ Semigloss Finish | 9 | 0% | 9 | EA | 65 | 585
71 |  | P4:Paint on Hollow Metal Frames Sherwin Williams Color:SW7068 Grizzle Gray w/ Semigloss Finish | 36 | 0% | 36 | EA | 45 | 1620
72 |  | P5:Paint on Gypsum Board Ceiling Sherwin Williams Color:SW7757 High Reflective White w/ Flat Finish | 1116 | 10% | 1227.6 | SF | 2.1 | 2577.96
73 |  | P6:Paint on Exposed Ceiling Sherwin Williams Color:SW7757 High Reflective White w/ Semigloss Finish | 3672 | 10% | 4039.2 | SF | 2.1 | 8482.32
74 |  | EP7:Paint on Walls Sherwin Williams Color:SW7649 Silver Plate w/ Eggshell finish | 3711.225 | 10% | 4082.3475 | SF | 2.1 | 8572.9298
MILLWORK FINISHES
75 |  | PL-1:Plastic Laminate Wilsonart Sterling Ash 7995 38 Fine Velvet texture Finish | 258 | 10% | 283.8 | SF | 8 | 2270.4
76 |  | QS1:Quartz Surfacing Cambria Weybourne | 25.29 | 10% | 27.819 | LF | 150 | 4172.85
77 |  | SS1:Solid Surface Counter Top LG Hausys HI-Macs Basillica M321 Contact:Jere Mccorkle | 59.04 | 10% | 64.944 | LF | 100 | 6494.4
78 |  | SS2:LG HAUSYS HI-MACS Ice Queen W001 | 26.26 | 10% | 28.886 | LF | 100 | 2888.6
79 |  | ST1:Stain Finish Masonaite Architectural Plain Sliced White Birch | 2250 | 10% | 2475 | SF | 10 | 24750
| DIV-10 | SPECIALITIES | [6 empty] | 25607.28
80 |  | TP-1:Toilet Partitons Scranton products Hiny Hiders Partitions Floor Mounted Color:Shale Orange peel Texture | 297.9 | 10% | 327.69 | SF | 12 | 3932.28
BATHROOM ACCESSORIES
81 |  | Soap Dispenser | 7 | 0% | 7 | EA | 250 | 1750
82 |  | Toilet Paper Dispenser | 8 | 0% | 8 | EA | 125 | 1000
83 |  | Grab Bar | 24 | 0% | 24 | EA | 350 | 8400
84 |  | Vertical Grab Bar | 12 | 0% | 12 | EA | 250 | 3000
85 |  | Mirror | 7 | 0% | 7 | EA | 550 | 3850
86 |  | Towel & Waste Unit | 7 | 0% | 7 | EA | 225 | 1575
87 |  | Santry Napkin Disposal | 6 | 0% | 6 | EA | 300 | 1800
88 |  | ADA Restroom Signages | 2 | 0% | 2 | EA | 150 | 300
| DIV-22 | PLUMBING | [6 empty] | 61500
PLUMBING PIPING
89 |  | Cold & Hot Water Supply Piping @ 30% Plumbing Fixture Cost | 1 | 0% | 1 | LS | 8000 | 8000
90 |  | Waste & vent Piping @ 40% of Plumbing Fixture Cost | 1 | 0% | 1 | LS | 12000 | 12000
PLUMBING FIXTURES
91 |  | Flush Valve Water Closet | 4 | 0% | 4 | EA | 1050 | 4200
92 |  | Flush Valve Water Closet ADA | 4 | 0% | 4 | EA | 1050 | 4200
93 |  | Urinal ADA | 4 | 0% | 4 | EA | 550 | 2200
94 |  | Counter Top Lavatory | 8 | 0% | 8 | EA | 800 | 6400
95 |  | Water Cooler | 2 | 0% | 2 | EA | 450 | 900
96 |  | Coffee Station Sink | 2 | 0% | 2 | EA | 1050 | 2100
97 |  | Coffee maker (Install Only) | 1 | 0% | 1 | EA | 275 | 275
98 |  | Referigerator Wall Box | 2 | 0% | 2 | EA | 450 | 900
99 |  | Jan/Mop Sink | 2 | 0% | 2 | EA | 1050 | 2100
100 |  | Room Sink | 3 | 0% | 3 | EA | 1050 | 3150
101 |  | Water Heater | 1 | 0% | 1 | EA | 2500 | 2500
102 |  | Recirculating Pump | 1 | 0% | 1 | EA | 1500 | 1500
103 |  | Master Mixing Valve | 1 | 0% | 1 | EA | 650 | 650
104 |  | DishWasher (Install Only) | 1 | 0% | 1 | EA | 125 | 125
105 |  | EyeWash/Safety Shower | 1 | 0% | 1 | EA | 950 | 950
106 |  | Floor Cleanout | 6 | 0% | 6 | EA | 400 | 2400
107 |  | Wall Clean Out | 6 | 0% | 6 | EA | 450 | 2700
108 |  | 3" Floor Drain | 7 | 0% | 7 | EA | 250 | 1750
109 |  | Ball Valve | 5 | 0% | 5 | EA | 150 | 750
PLUMBING EQUIPMENTS
110 |  | New Charmilles EDM (Install Only) | 1 | 0% | 1 | EA | 150 | 150
111 |  | Dehumidifier(Install Only) | 1 | 0% | 1 | EA | 150 | 150
112 |  | Instrument Chemistry (Install Only) | 1 | 0% | 1 | EA | 150 | 150
113 |  | New Grinder (Install Only) | 2 | 0% | 2 | EA | 150 | 300
114 |  | Equipments to be Relocated (Removal & Reinstallation only) | 4 | 0% | 4 | EA | 250 | 1000
| DIV-25 | MECHANICAL | [6 empty] | 265638.561
115 |  | 8" Dia Duct | 132.96 | 10% | 146.256 | LF | 25 | 3656.4
116 |  | 10" Dia Duct | 686.84 | 10% | 755.524 | LF | 32 | 24176.768
117 |  | 12" Dia Duct | 348.79 | 10% | 383.669 | LF | 34 | 13044.746
118 |  | 14" Dia Duct | 287.52 | 10% | 316.272 | LF | 36 | 11385.792
119 |  | 16" Dia Duct | 36.75 | 10% | 40.425 | LF | 38 | 1536.15
120 |  | 18" Dia Duct | 37.75 | 10% | 41.525 | LF | 40 | 1661
121 |  | 20" Dia Duct | 10.37 | 10% | 11.407 | LF | 42 | 479.094
122 |  | 12"x8" Rectangular Duct | 34.3 | 10% | 37.73 | LF | 20 | 754.6
123 |  | 12"x12" Rectangular Duct | 101.56 | 10% | 111.716 | LF | 22 | 2457.752
124 |  | 12"x14" Rectangular Duct | 14.53 | 10% | 15.983 | LF | 24 | 383.592
125 |  | 14"x10" Rectangular Duct | 22.67 | 10% | 24.937 | LF | 23 | 573.551
126 |  | 14"x12" Rectangular Duct | 61.15 | 10% | 67.265 | LF | 24 | 1614.36
127 |  | 14"x14" Rectangular Duct | 36.44 | 10% | 40.084 | LF | 28 | 1122.352
128 |  | 16"x14" Rectangular Duct | 75.22 | 10% | 82.742 | LF | 32 | 2647.744
129 |  | 16"x16" Rectangular Duct | 14.25 | 10% | 15.675 | LF | 36 | 564.3
130 |  | 18"x10" Rectangular Duct | 10.83 | 10% | 11.913 | LF | 40 | 476.52
131 |  | 18"x12" Rectangular Duct | 44.56 | 10% | 49.016 | LF | 41 | 2009.656
132 |  | 18"x14" Rectangular Duct | 36.06 | 10% | 39.666 | LF | 44 | 1745.304
133 |  | 18"x16" Rectangular Duct | 34.68 | 10% | 38.148 | LF | 48 | 1831.104
134 |  | 20"x12" Rectangular Duct | 12.56 | 10% | 13.816 | LF | 25 | 345.4
135 |  | 20"x14" Rectangular Duct | 66.88 | 10% | 73.568 | LF | 28 | 2059.904
136 |  | 20"x16" Rectangular Duct | 65.85 | 10% | 72.435 | LF | 40 | 2897.4
137 |  | 22"x16" Rectangular Duct | 10.59 | 10% | 11.649 | LF | 35 | 407.715
138 |  | 22"x22" Rectangular Duct | 11.3 | 10% | 12.43 | LF | 40 | 497.2
139 |  | 24"x15" Rectangular Duct | 17.36 | 10% | 19.096 | LF | 30 | 572.88
140 |  | 24"x16" Rectangular Duct | 98.81 | 10% | 108.691 | LF | 45 | 4891.095
141 |  | 28"x14" Rectangular Duct | 8.73 | 10% | 9.603 | LF | 35 | 336.105
142 |  | 28"x16" Rectangular Duct | 22.99 | 10% | 25.289 | LF | 55 | 1390.895
143 |  | 28"x18" Rectangular Duct | 18.04 | 10% | 19.844 | LF | 60 | 1190.64
144 |  | 30"x16" Rectangular Duct | 35.43 | 10% | 38.973 | LF | 40 | 1558.92
145 |  | 30"x18" Rectangular Duct | 16.5 | 10% | 18.15 | LF | 65 | 1179.75
146 |  | 32"x15" Rectangular Duct | 7.25 | 10% | 7.975 | LF | 55 | 438.625
147 |  | 40"x18" Rectangular Duct | 7.33 | 10% | 8.063 | LF | 60 | 483.78
148 |  | 42"x16" Rectangular Duct | 53.37 | 10% | 58.707 | LF | 65 | 3815.955
149 |  | 48"x18" Rectangular Duct | 40.47 | 10% | 44.517 | LF | 70 | 3116.19
150 |  | 1" Dia Gas Piping for RTU | 109.9 | 10% | 120.89 | LF | 28 | 3384.92
151 |  | 3/4" Dia Gas Piping for RTU | 271.99 | 10% | 299.189 | LF | 18 | 5385.402
152 |  | RTU-1 2000 cfm | 1 | 0% | 1 | EA | 3500 | 3500
153 |  | RTU-2 1600 cfm | 1 | 0% | 1 | EA | 300 | 300
154 |  | RTU-3 4000 cfm | 1 | 0% | 1 | EA | 5000 | 5000
155 |  | RTU-4 6000 cfm | 1 | 0% | 1 | EA | 6500 | 6500
156 |  | RTU-5 3000 cfm | 1 | 0% | 1 | EA | 4000 | 4000
157 |  | RTU-6 8000 cfm | 1 | 0% | 1 | EA | 7500 | 7500
158 |  | 12" Dia Shut-off Vav Box | 4 | 0% | 4 | EA | 250 | 1000
159 |  | 10" Dia Shut-off Vav Box | 1 | 0% | 1 | EA | 200 | 200
160 |  | 16" Dia Shut-off Vav Box | 2 | 0% | 2 | EA | 300 | 600
161 |  | 14" Dia Shut-off Vav Box | 1 | 0% | 1 | EA | 275 | 275
162 |  | Exhuast Fan 675 CFM | 1 | 0% | 1 | EA | 550 | 550
163 |  | Exhuast Fan 600 CFM | 2 | 0% | 2 | EA | 450 | 900
164 |  | Exhuast Fan 1000 CFM | 1 | 0% | 1 | EA | 800 | 800
165 |  | Duct less Mini Split System w/ Out door Unit 1.5 Tons 380 CFM | 1 | 0% | 1 | EA | 4050 | 4050
AIR DEVICE
166 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:200 | 4 | 0% | 4 | EA | 150 | 600
167 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:300 | 4 | 0% | 4 | EA | 200 | 800
168 |  | Neck Size:10" Dia Model:PAR CFM:200 | 4 | 0% | 4 | EA | 150 | 600
169 |  | Neck Size:14" Dia Model:PAR CFM:600 | 2 | 0% | 2 | EA | 350 | 700
170 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:175 | 2 | 0% | 2 | EA | 175 | 350
171 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:190 | 2 | 0% | 2 | EA | 185 | 370
172 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:160 | 2 | 0% | 2 | EA | 150 | 300
173 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:270 | 1 | 0% | 1 | EA | 250 | 250
174 |  | Neck Size:10" Dia Model:PAR CFM:270 | 1 | 0% | 1 | EA | 250 | 250
175 |  | Neck Size:12" Dia Model:PAR CFM:320 | 1 | 0% | 1 | EA | 270 | 270
176 |  | Neck Size:12" Dia Model:PAR CFM:380 | 1 | 0% | 1 | EA | 350 | 350
177 |  | Neck Size:12" Dia Model:PAR CFM:350 | 1 | 0% | 1 | EA | 325 | 325
178 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:280 | 1 | 0% | 1 | EA | 250 | 250
179 |  | Neck Size:10" Dia Model:PAR CFM:280 | 1 | 0% | 1 | EA | 250 | 250
180 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:300 | 1 | 0% | 1 | EA | 300 | 300
181 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:250 | 1 | 0% | 1 | EA | 250 | 250
182 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:262 | 4 | 0% | 4 | EA | 250 | 1000
183 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:300 | 4 | 0% | 4 | EA | 250 | 1000
184 |  | Neck Size:12"x12"x12" Dia Model:TDC CFM:350 | 2 | 0% | 2 | EA | 300 | 600
185 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:225 | 2 | 0% | 2 | EA | 250 | 500
186 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:175 | 2 | 0% | 2 | EA | 200 | 400
187 |  | Neck Size:12"x12"x10" Dia Model:TDC-AA CFM:225 | 2 | 0% | 2 | EA | 225 | 450
188 |  | Neck Size:10" Dia Model:PAR CFM:300 | 1 | 0% | 1 | EA | 300 | 300
189 |  | Neck Size:10" Dia Model:PAR CFM:250 | 1 | 0% | 1 | EA | 300 | 300
190 |  | Neck Size:16" Dia Model:PAR CFM:700 | 1 | 0% | 1 | EA | 450 | 450
191 |  | Neck Size:12" Dia Model:PAR CFM:450 | 1 | 0% | 1 | EA | 350 | 350
192 |  | Neck Size:12" Dia Model:PAR CFM:350 | 1 | 0% | 1 | EA | 300 | 300
193 |  | Neck Size:14" Dia Model:PAR CFM:600 | 2 | 0% | 2 | EA | 425 | 850
194 |  | Neck Size:12"x12" Model:PAR CFM:525 | 2 | 0% | 2 | EA | 400 | 800
195 |  | Neck Size:15"x15"x12" Dia Model:TDCA CFM:450 | 6 | 0% | 6 | EA | 350 | 2100
196 |  | Neck Size:12"x12"x10" Dia Model:TDCA CFM:275 | 12 | 0% | 12 | EA | 200 | 2400
197 |  | Neck Size:18"x18" Model:PAR CFM:900 | 3 | 0% | 3 | EA | 500 | 1500
198 |  | Neck Size:14" Dia Model:PAR CFM:550 | 3 | 0% | 3 | EA | 350 | 1050
199 |  | Neck Size:18"x18" Model:PAR CFM:825 | 2 | 0% | 2 | EA | 475 | 950
200 |  | Neck Size:15"x15"x12" Dia Model:TDC CFM:400 | 2 | 0% | 2 | EA | 300 | 600
201 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:200 | 2 | 0% | 2 | EA | 200 | 400
202 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:166 | 4 | 0% | 4 | EA | 150 | 600
203 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:250 | 1 | 0% | 1 | EA | 200 | 200
204 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:175 | 1 | 0% | 1 | EA | 150 | 150
205 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:275 | 1 | 0% | 1 | EA | 250 | 250
206 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:218 | 2 | 0% | 2 | EA | 200 | 400
207 |  | Neck Size:18"x18" Model:PAR CFM:800 | 1 | 0% | 1 | EA | 550 | 550
208 |  | Neck Size:18"x18" Model:PAR CFM:825 | 1 | 0% | 1 | EA | 550 | 550
209 |  | Neck Size:14" Dia Model:PAR CFM:664 | 1 | 0% | 1 | EA | 500 | 500
210 |  | Neck Size:10" Dia Model:PAR CFM:275 | 1 | 0% | 1 | EA | 250 | 250
211 |  | Neck Size:14" Dia Model:PAR CFM:436 | 1 | 0% | 1 | EA | 300 | 300
212 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:317 | 6 | 0% | 6 | EA | 300 | 1800
213 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:250 | 2 | 0% | 2 | EA | 250 | 500
214 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:300 | 1 | 0% | 1 | EA | 300 | 300
215 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:238 | 4 | 0% | 4 | EA | 250 | 1000
216 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:175 | 1 | 0% | 1 | EA | 150 | 150
217 |  | Neck Size:12"x6" Model:300FL CFM:175 | 4 | 0% | 4 | EA | 150 | 600
218 |  | Neck Size:12"x12"x10" Dia Model:TDC-AA CFM:225 | 2 | 0% | 2 | EA | 200 | 400
219 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:150 | 3 | 0% | 3 | EA | 150 | 450
220 |  | Neck Size:12"x12"x10" Dia Model:TDC CFM:300 | 1 | 0% | 1 | EA | 250 | 250
221 |  | Neck Size:12"x8" Model:300FL CFM:230 | 10 | 0% | 10 | EA | 200 | 2000
222 |  | Neck Size:12"x12"x8" Dia Model:TDC CFM:175 | 1 | 0% | 1 | EA | 150 | 150
223 |  | Neck Size:14" Dia Model:PAR CFM:475 | 2 | 0% | 2 | EA | 350 | 700
224 |  | Neck Size:8" Dia Model:PAR CFM:175 | 1 | 0% | 1 | EA | 150 | 150
225 |  | Neck Size:10" Dia Model:PAR CFM:300 | 3 | 0% | 3 | EA | 250 | 750
226 |  | Neck Size:18"x14" Model:350RL CFM:700 | 1 | 0% | 1 | EA | 500 | 500
227 |  | Neck Size:14" Dia Model:PAR CFM:500 | 1 | 0% | 1 | EA | 450 | 450
228 |  | Neck Size:10" Dia Model:PAR CFM:300 | 1 | 0% | 1 | EA | 300 | 300
229 |  | Neck Size:30"x18" Model:350RL CFM:1380 | 1 | 0% | 1 | EA | 800 | 800
230 |  | Neck Size:30"x14" Model:350RL CFM:920 | 1 | 0% | 1 | EA | 600 | 600
231 |  | Neck Size:18"x18" Model:PAR CFM:1063 | 2 | 0% | 2 | EA | 750 | 1500
232 |  | Neck Size:12"x12" Model:350FL CFM:300 | 4 | 0% | 4 | EA | 250 | 1000
233 |  | Neck Size:6"x6" Model:350FL CFM:75 | 1 | 0% | 1 | EA | 100 | 100
234 |  | Neck Size:12"x8" Model:350RL CFM:300 | 2 | 0% | 2 | EA | 250 | 500
235 |  | L-1:Louver Size:36"x16" Intake | 1 | 0% | 1 | EA | 300 | 300
236 |  | L-2:Louver Size:24"x16" Intake | 1 | 0% | 1 | EA | 250 | 250
237 |  | Thermostat | 7 | 0% | 7 | EA | 450 | 3150
238 |  | Balancing Damper | 153 | 0% | 153 | EA | 125 | 19125
239 |  | Gas Valve | 1 | 0% | 1 | EA | 350 | 350
240 |  | Testing & Balancing | 1 | 0% | 1 | LS | 35000 | 35000
241 |  | Duct Insulation & Hvac Equipment Insulation Allowance | 1 | 0% | 1 | LS | 25000 | 25000
| DIV-26 | ELECTRICAL & FIRE AlARM | [6 empty] | 922500
LIGHTNING
242 |  | 2'x4' Ceiling Mounted Fixture | 250 | 0% | 250 | EA | 450 | 112500
243 |  | 8' Industiral Strip Fixture | 39 | 0% | 39 | EA | 350 | 13650
244 |  | Wall Mounted Fixture | 10 | 0% | 10 | EA | 250 | 2500
245 |  | Exterior Wall pack | 12 | 0% | 12 | EA | 325 | 3900
246 |  | Recessed Downlight | 38 | 0% | 38 | EA | 450 | 17100
247 |  | EMC:Ceiling Mounted Twin-Heaad Low Profile Contoured Emergency Light | 5 | 0% | 5 | EA | 225 | 1125
248 |  | EMC:Wall Mounted Twin-Heaad Low Profile Contoured Emergency Light | 9 | 0% | 9 | EA | 350 | 3150
249 |  | Exit Sign | 52 | 0% | 52 | EA | 350 | 18200
250 |  | 4' Led Strip Light | 2 | 0% | 2 | EA | 650 | 1300
POWER
251 |  | Duplex Receptacle | 198 | 0% | 198 | EA | 250 | 49500
252 |  | Quad Receptacle | 25 | 0% | 25 | EA | 350 | 8750
253 |  | GFI Recpetacle | 27 | 0% | 27 | EA | 350 | 9450
254 |  | Electric Panels | 12 | 0% | 12 | EA | 3000 | 36000
255 |  | 1-Way Switch | 150 | 0% | 150 | EA | 250 | 37500
256 |  | 3-Way Switch | 45 | 0% | 45 | EA | 300 | 13500
257 |  | Junction Box | 19 | 0% | 19 | EA | 150 | 2850
258 |  | Occupancy Sensor | 9 | 0% | 9 | EA | 450 | 4050
259 |  | TV Outlet | 31 | 0% | 31 | EA | 125 | 3875
260 |  | Special Receptacle | 19 | 0% | 19 | EA | 450 | 8550
261 |  | Dixonnect Switch | 23 | 0% | 23 | EA | 250 | 5750
262 |  | Electric Wiring,Cable tray,Raceways Allowance as Per Assumed to be 100ft for Each Fixture | 1 | 0% | 1 | LS | 550000 | 550000
FIRE ALARM
263 |  | Water Flow Switch | 1 | 0% | 1 | EA | 350 | 350
264 |  | Fire Alarm Control Panel | 1 | 0% | 1 | EA | 750 | 750
265 |  | Fire Alarm Strobe | 7 | 0% | 7 | EA | 450 | 3150
266 |  | Fire Alarm Stobe Weather Proof | 1 | 0% | 1 | EA | 500 | 500
267 |  | Horn Strobe | 35 | 0% | 35 | EA | 200 | 7000
268 |  | Pull Station | 9 | 0% | 9 | EA | 300 | 2700
269 |  | Disconnect Switch | 10 | 0% | 10 | EA | 300 | 3000
270 |  | Motor | 2 | 0% | 2 | EA | 325 | 650
271 |  | Tamper Switch | 1 | 0% | 1 | EA | 125 | 125
272 |  | Smoke Detector | 1 | 0% | 1 | EA | 275 | 275
273 |  | Fire Alarm Annuciator | 1 | 0% | 1 | EA | 800 | 800
SUB TOTAL | [7 empty] | 2398740.3022 | 2398740.3022
OVERHEAD & PROFIT | [6 empty] | 25% | 599685.0755 | 599685.0755
SUBTOTAL | [7 empty] | 2998425.3777 | 2998425.3777
Note:Estimate is According to the provided Design Drawings
w